## Content
Design GTS investment plan 2020 - 2030
2.2 Developments in both volume and required transmission capacity
2.3 Comparison of gas demand under IP and C&EO
2.4 Meeting the heating demand for Dutch residential and commercial real estate
2.5 Possible development in the annual volume and in the transmission capacity for the built environment
2.6 Total electric power generation in the Netherlands per scenario
2.7 Gas consumption for the generation of electricity
2.8 Industrial gas consumption for both industrial parties connected via RNOs and directly connected industrial parties
2.9 Gas consumption for mobility in the various scenarios
2.10 Total domestic natural gas production, divided into Groningen and other gas fields
2.11 Overview of green gas production in the Netherlands
2.12 Production of green hydrogen in the Netherlands
2.13 Total gas production in the Netherlands
2.14 Hydrogen demand in the FSI scenario, shown per production method
2.15 Development of gas demand in countries neighbouring the Netherlands
2.16 Development of gas production in countries neighbouring the Netherlands
2.17 Green gas production in countries neighbouring the Netherlands under the ENTSOG scenarios
2.18 Utilisation of the GTS network, both for annual transmission volumes and peak capacities
2.19 Import demand in the Netherlands over the coming years
3.2 Dutch gas production between 2000 and 2018
3.3 Development of the required Groningen volume and capacity per gas year
3.5 Required use of storage facilities for the L-gas market, in percentage terms
3.6 Brattle Group, required working gas volume (WGV) storage facilities in 2030 (cold year)
3.7 Brattle Group, capacity analysis in 2030 (peak)
3.8 Daily flow at Emden IP and Oude Statenzijl IP: 2014 and 2018
Appendix VI Capacity at cross-border stations

## 2.2 Gas consumption+transm cap.
First page
Gas consumption development (TWh) | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Registered by Statistics Netherlands | 518.23 | 453.4195 | 433.4703 | 432.2979 | 377.081 | 371.6101 | 389.9767 | 401.4949 | 398.2612
CA | [8 empty] | 398.2612 | 373.7197 | 349.1782 | 346.6631 | 344.148 | 341.6329 | 339.1178 | 336.6027 | 333.5046 | 330.4064 | 327.3083 | 324.2101 | 321.112
AT | [8 empty] | 398.2612 | 373.7197 | 349.1782 | 346.7779 | 344.3776 | 341.9772 | 339.5769 | 337.1766 | 334.8311 | 332.4857 | 330.1402 | 327.7948 | 325.4493
FSI | [8 empty] | 398.2612 | 373.7197 | 349.1782 | 344.36 | 339.5417 | 334.7234 | 329.9052 | 325.0869 | 320.2033 | 315.3198 | 310.4362 | 305.5526 | 300.6691
Gas transmission capacity (GW) | 2020 | 2025 | 2030 | 2020 | 2025 | 2030 | 2020 | 2025 | 2030
| AT20 | AT25 | AT30 | CA20 | CA25 | CA30 | FSI20 | FSI25 | FSI30
Total required gas transmission capacity | 164.1901 | 159.9694 | 153.2055 | 164.1901 | 160.3119 | 154.603 | 164.1901 | 153.9773 | 143.9694

## 2.3 Comparison gas demand
First page
TWh | CA25 | AT25 | FSI25 | C&EO25 | TWh | CA30 | AT30 | FSI30 | C&EO30
G-gas | 205.9487 | 206.5225 | 194.4508 | 199.222 | G-gas | 199.7876 | 202.5127 | 177.1013 | 182.7536
H-gas | 130.6541 | 130.6541 | 125.5083 | 113.7706 | H-gas | 121.3243 | 122.9366 | 104.8711 | 108.6321
Hydrogen | 0 | 0 | 5.1278 | 0 | Hydrogen | 0 | 0 | 18.6967 | 0
Total | 336.6027 | 337.1766 | 325.0869 | 312.9926 | Total | 321.112 | 325.4493 | 300.6691 | 291.3856

## 2.4 Heating
First page
Market shares in residential real estate | 2020 | AT30 | CA30 | FSI30 | Market shares in commercial real estate | 2020 | AT30 | CA30 | FSI30
High efficiency gas boiler | 89.86% | 63.17% | 69.32% | 63.17% | Standard gas boiler | 90.65% | 82.7% | 79.7% | 79.7%
Heat grid | 5.407% | 9.583% | 9.583% | 10.56% | Thermal energy storage | 8.782% | 12% | 12% | 12%
Air source heat pump | 1.193% | 4.637% | 4.637% | 9.356% | Biomass boiler | 0% | 0% | 3% | 3%
Ground source heat pump | 1.523% | 5.323% | 5.323% | 5.323% | Heat grid | 0% | 5.3% | 5.3% | 5.3%
Hybrid heat pump | 0.5458% | 12.29% | 6.141% | 6.588%
Pellet boiler | 0% | 5% | 5% | 5%
Standard gas boiler | 1.472% | 0% | 0% | 0%

## 2.5 Built environment
First page
TWh | 2020 | CA30 | AT30 | FSI30 | GW | 2020 | CA30 | AT30 | FSI30
Residential | 81.4892 | 67.7912 | 66.7436 | 61.7368 | Residential | 78.1984 | 73.4098 | 73.4098 | 68.6448
Commercial | 22.233 | 19.5092 | 20.1795 | 19.5092 | Commercial | 12.7246 | 11.8261 | 12.2569 | 11.8261
Total | 103.7222 | 87.3004 | 86.9231 | 81.2461 | Total | 90.923 | 85.236 | 85.6668 | 80.471

## 2.6 Electr power generation
First page
GW | 2020 | CA30 | AT30 | FSI30
Solar PV | 6.9 | 25 | 14.3 | 34.3
Offshore wind | 2.357 | 11.3 | 10.6 | 14.6
Onshore wind | 4.51 | 7.8 | 6 | 8.1
Hydrogen | 0 | 0 | 0 | 1.4
Biomass | 0 | 0 | 0 | 1.4
Local gas | 4.1539 | 3.2098 | 3.2098 | 3.2098
Centralised gas | 12.2411 | 8.6432 | 8.6432 | 7.2432
Coal | 4.64 | 0 | 0 | 0
Nuclear | 0.484 | 0.484 | 0.484 | 0.484
Total | 35.286 | 56.437 | 43.237 | 70.737

## 2.7 Gas consumption power
First page
TWh | 2020 | CA30 | AT30 | FSI30 | GW | 2020 | CA30 | AT30 | FSI30
CHP | 39.7625 | 30.7807 | 30.7807 | 30.7807 | CHP | 10.2576 | 7.0565 | 7.0565 | 7.0565
Plants | 65.2284 | 47.2267 | 47.9675 | 51.8001 | Plants | 22.2565 | 15.7149 | 15.7149 | 15.7149
Total | 104.991 | 78.0074 | 78.7482 | 82.5808 | Total | 32.5141 | 22.7714 | 22.7714 | 22.7714

## 2.8 Industry
First page
TWh | 2020 | CA30 | AT30 | FSI30 | GW | 2020 | CA30 | AT30 | FSI30
Industrial parties through RNOs | 75.6155 | 83.8503 | 85.1773 | 69.8508 | Industrial parties through RNOs | 29.3083 | 32.5001 | 33.0145 | 27.0739
Directly connected industrial parties | 63.9236 | 70.8851 | 72.0069 | 59.0502 | Directly connected industrial parties | 11.2904 | 12.5199 | 12.7181 | 12.3296
Total | 139.5391 | 154.7354 | 157.1842 | 128.901 | Total | 40.5987 | 45.02 | 45.7325 | 39.4036

## 2.9 Mobility
First page
TWh | 2020 | CA30 | AT30 | FSI30 | GW | 2020 | CA30 | AT30 | FSI30
Methane | 0.92601 | 1.0687 | 2.5938 | 1.0779 | Methane | 0.15434 | 0.17812 | 0.43231 | 0.17965
Hydrogen | 0 | 0 | 0 | 6.8633 | Hydrogen | 0 | 0 | 0 | 1.1439
Total | 0.92601 | 1.0687 | 2.5938 | 7.9412 | Total | 0.15434 | 0.17812 | 0.43231 | 1.3235

## 2.10 Domestic natural gas prod.
First page
TWh | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Small fields | 168.0344 | 171.9422 | 156.3111 | 129.9336 | 110.3947 | 109.4178 | 104.5331 | 89.8789 | 76.2017 | 62.5244 | 49.8242 | 40.0547
Groningen | 152.0126 | 101.11 | 79.28 | 18.96 | 1.31 | 0.69 | 0.26 | 0.09 | 0.03 | 0 | 0 | 0
Total | 320.047 | 273.0522 | 235.5911 | 148.8936 | 111.7047 | 110.1078 | 104.7931 | 89.9689 | 76.2317 | 62.5244 | 49.8242 | 40.0547

## 2.11 Green gas production
First page
TWh | 2020 | 2025 | 2030
CA | 0.30867 | 1.9248 | 3.5409
AT | 0.30867 | 19.5389 | 29.3083
FSI | 0.30867 | 1.9248 | 3.5409

## 2.12 Green hydrogen production
First page
TWh | 2020 | 2025 | 2030
CA | 0 | 0 | 0
AT | 0 | 0 | 0
FSI | 0 | 1.1973 | 8.3809

## 2.13 Gas production in NL
First page
TWh | 2020 | CA30 | AT30 | FSI30
Green hydrogen | 273.0522 | 40.0547 | 40.0547 | 40.0547
Green gas | 0.30867 | 3.5409 | 29.3083 | 3.1863
Natural gas | 0 | 0 | 0 | 8.3809
Total | 273.3609 | 43.5956 | 69.3631 | 51.6219

## 2.14 Hydrogen in NL
First page
TWh | 2020 | FSI30
SMR new | 0 | 11.8333
Electrolysis | 0 | 8.3809
SMR current | 59.1666 | 61.7316
Total | 59.1666 | 81.9458

## 2.15 Gas demand in nghb. cntr.
First page
TWh | 2020 | GBC25 | CBG25 | ST30 | EUCO30 | DG30
BE | 161 | 189 | 179 | 195 | 229 | 179
DE | 752 | 813 | 731 | 812 | 768 | 642
FR | 429 | 450 | 432 | 495 | 404 | 429
IE | 48 | 60 | 55 | 65 | 51 | 55
LU | 9 | 9 | 9 | 9 | 12 | 8
UK | 776 | 809 | 771 | 758 | 705 | 747
Total | 2175 | 2330 | 2177 | 2334 | 2169 | 2060

## 2.16 Gas prd. in neighb. cntr.
First page
TWh | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
DE | 60.882 | 56.429 | 50.5525 | 45.3695 | 40.515 | 36.5365 | 33.4705 | 30.6965 | 28.1415 | 25.769 | 23.6155
UK | 310.761 | 294.263 | 283.24 | 272.2535 | 255.7555 | 233.746 | 214.5105 | 195.2385 | 178.7405 | 159.505 | 145.7445
Total | 371.643 | 350.692 | 333.7925 | 317.623 | 296.2705 | 270.2825 | 247.981 | 225.935 | 206.882 | 185.274 | 169.36

## 2.17 Green gas in neighb. cntr.
First page
TWh | ST20 | DG20 | ST25 | DG25 | ST30 | DG30 | TWh | 2020 | 2025 | 2030
BE | 0 | 1.9801 | 0.68932 | 3.1978 | 1.9801 | 4.3945 | Min | 12.9435 | 17.8364 | 25.5241
DE | 8.833 | 20 | 9.271 | 25 | 9.782 | 30 | Max | 34.0182 | 66.1337 | 169.633
FR | 1.6441 | 3.6281 | 4.2129 | 14.8337 | 10.0366 | 87.242
IE | 0.27638 | 0.613 | 1.44 | 4.26 | 1.44 | 11.467
LU | 0 | 0.095474 | 0.033237 | 0.15419 | 0.095474 | 0.21189
UK | 2.19 | 7.7015 | 2.19 | 18.688 | 2.19 | 36.3175
Total | 12.9435 | 34.0182 | 17.8364 | 66.1337 | 25.5241 | 169.633

## 2.18 GTS network utilisation
First page
TWh | Domestic | Transit H | Export H | Export G | Total | Max. scenario | GW | 2020 | 2025 | 2030
2013 | 432.2979 | 193.3844 | 132.382 | 290.3267 | 1048.3909 | 0 | Domestic | 164.1901 | 153.9773 | 143.9694
2014 | 377.081 | 222.4651 | 81.7343 | 233.56 | 914.8404 | 0 | Transit H | 68 | 34.0504 | 50.6278
2015 | 371.6101 | 210.5813 | 0 | 249.5389 | 831.7304 | 0 | Export L | 70 | 30 | 0
2016 | 389.9767 | 231.4122 | 0 | 283.0219 | 904.4108 | 0 | UGS injection | 45 | 45 | 38
2017 | 401.4949 | 201.5484 | 0 | 272.6624 | 875.7057 | 0 | Max. scenario | 0 | 9.7002 | 20.0777
2018 | 398.2612 | 201.5484 | 0 | 272.6624 | 872.472 | 0 | Total | 347.1901 | 272.7279 | 252.675
2019 | 366.7014 | 201.5484 | 0 | 272.6624 | 840.9122 | 0
2020 | 349.1782 | 201.5484 | 0 | 272.6624 | 823.3891 | 0
2021 | 344.36 | 183.8941 | 0 | 234.978 | 763.2321 | 3.1389
2022 | 339.5417 | 166.2398 | 0 | 197.2936 | 703.075 | 6.2778
2023 | 334.7234 | 148.5854 | 0 | 159.6092 | 642.918 | 9.4167
2024 | 329.9052 | 130.9311 | 0 | 121.9248 | 582.761 | 12.5556
2025 | 325.0869 | 113.2767 | 0 | 84.2404 | 522.604 | 15.6945
2026 | 320.2033 | 120.8356 | 0 | 67.3923 | 508.4312 | 19.2386
2027 | 315.3198 | 128.3945 | 0 | 50.5442 | 494.2584 | 22.7826
2028 | 310.4362 | 135.9533 | 0 | 33.6961 | 480.0857 | 26.3267
2029 | 305.5526 | 143.5122 | 0 | 16.8481 | 465.9129 | 29.8707
2030 | 300.6691 | 151.071 | 0 | 0 | 451.7401 | 33.4148

## 2.19 Dutch import demand
First page
TWh | NO | BE | LNG | DE | NP | Extra | Total | Max. scenario | TWh | Min. | Max.
2013 | 142.7 | 3.1 | 7.1 | 47.6 | 806.9561 |  | 1007.4561 | 0 | 2014 | 226.8 | 226.8
2014 | 147.1 | 4 | 4.4 | 71.3 | 672.1378 |  | 898.9378 | 0 | 2015 | 293.0833 | 293.0833
2015 | 175.85 | 19.5389 | 9.7694 | 87.925 | 508.0111 |  | 801.0944 | 0 | 2016 | 337.0458 | 337.0458
2016 | 170.9653 | 24.4236 | 4.8847 | 136.7722 | 490.4261 |  | 827.4719 | 0 | 2017 | 384.9161 | 384.9161
2017 | 224.6972 | 43.9625 | 8.7925 | 107.4639 | 427.9017 |  | 812.8178 | 0 | 2018 | 478.7028 | 478.7028
2018 | 254.0056 | 39.0778 | 29.3083 | 156.3111 | 358.5386 |  | 837.2414 | 0 | 2019 | 508.0111 | 508.0111
2019 | 254.0056 | 39.0778 | 58.6167 | 156.3111 | 320.047 |  | 828.0581 | 0 | 2020 | 550.0282 | 550.0282
2020 | 254.0056 | 39.0778 | 58.6167 | 156.3111 | 273.3609 | 42.0171 | 823.3891 | 0 | 2021 | 526.7696 | 530.148
2021 | 239.7849 | 35.5686 | 57.5445 | 155.9013 | 236.4625 | 37.9703 | 763.2321 | 3.1389 | 2022 | 552.7474 | 559.5041
2022 | 225.5642 | 32.0595 | 56.4723 | 155.4915 | 150.3276 | 83.1599 | 703.075 | 6.2778 | 2023 | 529.2166 | 539.3517
2023 | 211.3436 | 28.5503 | 55.4002 | 155.0817 | 113.7014 | 78.8408 | 642.918 | 9.4167 | 2024 | 470.0939 | 483.6073
2024 | 197.1229 | 25.0412 | 54.328 | 154.6719 | 112.6671 | 38.9299 | 582.761 | 12.5556 | 2025 | 414.6889 | 431.5807
2025 | 182.9023 | 21.5321 | 53.2558 | 154.262 | 107.9151 | 2.7367 | 522.604 | 15.6945 | 2026 | 413.5804 | 435.4529
2026 | 181.2525 | 20.0962 | 51.5165 | 152.9149 | 94.8509 | 7.8002 | 508.4312 | 19.2386 | 2027 | 411.3848 | 438.2382
2027 | 179.6609 | 18.1065 | 52.2573 | 151.5677 | 82.8736 | 9.7924 | 494.2584 | 22.7826 | 2028 | 409.1593 | 440.9935
2028 | 178.0692 | 16.1169 | 52.9981 | 150.2206 | 70.9263 | 11.7546 | 480.0857 | 26.3267 | 2029 | 405.9269 | 442.7418
2029 | 176.4776 | 14.1272 | 53.7389 | 148.8734 | 59.986 | 12.7098 | 465.9129 | 29.8707 | 2030 | 399.7636 | 441.5593
2030 | 174.6534 | 14.3528 | 44.5593 | 147.5263 | 51.9765 | 18.6718 | 451.7401 | 33.4148

## 3.2 Dutch gas production
First page
BCM | Groningen | Small fields
2000 | 21.3 | 48.5
2001 | 24.5 | 49
2002 | 27 | 45.3
2003 | 29 | 40
2004 | 32.9 | 48.6
2005 | 33.8 | 40.5
2006 | 33.2 | 40.1
2007 | 28.9 | 41.6
2008 | 41.2 | 39.5
2009 | 37.7 | 36.8
2010 | 50.9 | 34.7
2011 | 46.8 | 32.3
2012 | 47.8 | 30
2013 | 53.9 | 28.5
2014 | 42.4 | 26.3
2015 | 28.1 | 24.1
2016 | 27.6 | 22.8
2017 | 23.6 | 20.3
2018 | 18.8 | 17.7

## 3.3 Groningen vol and cap
First page
BCM | Volume (cold) | Volume (average) | Volume (warm)
20/21 | 14.3545 | 9.0704 | 5.354
21/22 | 7.2534 | 3.0722 | 0.72965
22/23 | 0.43911 | 0.13428 | 0.0031546
23/24 | 0.22362 | 0.070256 | 0.00013922
24/25 | 0.12174 | 0.026962 | 0
25/26 | 0.045838 | 0.0086501 | 0
26/27 | 0.0099807 | 0.0015519 | 0
27/28 | 0 | 0 | 0
28/29 | 0 | 0 | 0
29/30 | 0 | 0 | 0
millions of m3/h | Capacity
20/21 | 4.6
21/22 | 4.4
22/23 | 2.1
23/24 | 1.5
24/25 | 1
25/26 | 0.5
26/27 | 0
27/28 | 0
28/29 | 0
29/30 | 0

## 3.5 Utilisation of L-gas storag
First page
Gas year | 20/21 | 21/22 | 22/23 | 23/24 | 24/25 | 25/26 | 26/27 | 27/28 | 28/29 | 29/30
Capacity | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 87.8% | 73.76% | 57.67%
Volume | 100% | 100% | 100% | 74.89% | 53.33% | 35.11% | 25.68% | 16.34% | 9.023% | 4.836%

## 3.6 Required WGV storage facili
First page
GWh | L-gas storage facilities | H-gas storage facilities
WGV - Domestic market | 50127.3644 | 10068.2499
WGV - Export | 0 | 13434.7733
WGV - Import |  | 30541.5448
Additionally required WGV |  | 17981.8464
Unused WGV | 7923.5356 | 32881.7857

## 3.7 Capacity analysis
First page
2030 - peak | Scenario 1 | Scenario 2 | Scenario 3 | Scenario 4
L-gas | 17.31% | 9.191% | 2.236% | 2.236%
H-gas | 11.45% | 0% | -3.159% | -22.72%

## 3.8 Flow at Emden and OSZH
First page
Daily flow at Emden IP |  |  |  |  | Daily flow at H-entry of Oude Statenzijl IP
kWh/day | Firm capacity (source: IEA) | 2014 (source: GTS) | 2018 (source: GTS) |  | kWh/day | Firm capacity (source: IEA) | 2014 (source: GTS) | 2018 (source: GTS)
2018-01-01 | 850000000 | 433063863.0556 | 647587805.0944 |  | 2018-01-01 | 500000000 | 213824877.3611 | 584904779.6944
2018-01-02 | 850000000 | 402675375 | 658249644.8222 |  | 2018-01-02 | 500000000 | 218947579.3056 | 574233283.8611
2018-01-03 | 850000000 | 379850311.9444 | 754396830.9694 |  | 2018-01-03 | 500000000 | 211261822.6667 | 570436019.1944
2018-01-04 | 850000000 | 336484973.8889 | 744240781.05 |  | 2018-01-04 | 500000000 | 235367161.3889 | 604917692.2778
2018-01-05 | 850000000 | 346648298.0556 | 655595965.4528 |  | 2018-01-05 | 500000000 | 197983779.0278 | 595221833.536
2018-01-06 | 850000000 | 301983706.1111 | 688608692.2111 |  | 2018-01-06 | 500000000 | 264127141.4444 | 666455555.525
2018-01-07 | 850000000 | 346842383.8889 | 636304395.1306 |  | 2018-01-07 | 500000000 | 258175812.7222 | 642609346.5694
2018-01-08 | 850000000 | 361528435.8333 | 699090284.9972 |  | 2018-01-08 | 500000000 | 237578468.6389 | 547398719.5125
2018-01-09 | 850000000 | 401999765 | 679856821.375 |  | 2018-01-09 | 500000000 | 236306753.5833 | 591641759.1472
2018-01-10 | 850000000 | 400955167.7778 | 659259694.225 |  | 2018-01-10 | 500000000 | 237558620.9167 | 614144680.7931
2018-01-11 | 850000000 | 380103745.8333 | 601617215.625 |  | 2018-01-11 | 500000000 | 207201214.4722 | 635633721.1111
2018-01-12 | 850000000 | 405102398.0556 | 672573726.8055 |  | 2018-01-12 | 500000000 | 242680259.9167 | 593719476.0278
2018-01-13 | 850000000 | 401085213.0556 | 679079067.1695 |  | 2018-01-13 | 500000000 | 261549286.0833 | 615636016.8056
2018-01-14 | 850000000 | 379437821.9444 | 673688731.575 |  | 2018-01-14 | 500000000 | 217888928.4444 | 584648697.3333
2018-01-15 | 850000000 | 305474551.9444 | 715726431.075 |  | 2018-01-15 | 500000000 | 231756389.75 | 538047693.7778
2018-01-16 | 850000000 | 319322178.0556 | 710933423.7417 |  | 2018-01-16 | 500000000 | 196773534.5278 | 510124772.9444
2018-01-17 | 850000000 | 352420185 | 637109019.0944 |  | 2018-01-17 | 500000000 | 183346815.25 | 497371440.5278
2018-01-18 | 850000000 | 310066576.9444 | 607871868.5 |  | 2018-01-18 | 500000000 | 204327885.2222 | 516453805.9444
2018-01-19 | 850000000 | 324678176.1111 | 462563494.5333 |  | 2018-01-19 | 500000000 | 200857677.3333 | 504407259.4444
2018-01-20 | 850000000 | 370688905 | 587038823.45 |  | 2018-01-20 | 500000000 | 216890147.3056 | 458753565.0556
2018-01-21 | 850000000 | 344568951.1111 | 551870338.9528 |  | 2018-01-21 | 500000000 | 189558338.7778 | 566348168.9445
2018-01-22 | 850000000 | 318619848.0556 | 643566369.7222 |  | 2018-01-22 | 500000000 | 209181177.3611 | 554793838
2018-01-23 | 850000000 | 389059338.0556 | 615062954.9528 |  | 2018-01-23 | 500000000 | 239686404.1389 | 570145858.5
2018-01-24 | 850000000 | 334840330.8333 | 491316132.85 |  | 2018-01-24 | 500000000 | 221382449.6389 | 487963055.2778
2018-01-25 | 850000000 | 363316684.1667 | 691775266.5667 |  | 2018-01-25 | 500000000 | 171102310.5278 | 496376527
2018-01-26 | 850000000 | 342402397.7778 | 607928411.2583 |  | 2018-01-26 | 500000000 | 184103896.6667 | 469154982.1389
2018-01-27 | 850000000 | 374783276.9444 | 543507836.6305 |  | 2018-01-27 | 500000000 | 222333869.2778 | 599960315.5833
2018-01-28 | 850000000 | 330739894.1667 | 578420673.6889 |  | 2018-01-28 | 500000000 | 167217403.0833 | 615429481.8889
2018-01-29 | 850000000 | 451526520 | 629555254.1306 |  | 2018-01-29 | 500000000 | 128948879.9722 | 600223875.1111
2018-01-30 | 850000000 | 450552207.7778 | 457177107.5917 |  | 2018-01-30 | 500000000 | 163050787.8056 | 592519254.3056
2018-01-31 | 850000000 | 505351019.1667 | 608792082.7778 |  | 2018-01-31 | 500000000 | 120353654.6 | 589953382.4
2018-02-01 | 850000000 | 432198729.7222 | 644717214.2417 |  | 2018-02-01 | 500000000 | 120089606.8889 | 548714429.3055
2018-02-02 | 850000000 | 442424552.7778 | 700158682.2028 |  | 2018-02-02 | 500000000 | 106855879.9167 | 520715128.4167
2018-02-03 | 850000000 | 432514860.2778 | 735802655.1111 |  | 2018-02-03 | 500000000 | 127378411.6667 | 602343106.4722
2018-02-04 | 850000000 | 466127367.2222 | 538960294.2889 |  | 2018-02-04 | 500000000 | 176878653.8056 | 602717241.5
2018-02-05 | 850000000 | 441562178.8889 | 627918648.7611 |  | 2018-02-05 | 500000000 | 189466257.75 | 506086269.0278
2018-02-06 | 850000000 | 330536014.4444 | 735795327.9722 |  | 2018-02-06 | 500000000 | 170015722.7778 | 448636210.7778
2018-02-07 | 850000000 | 375592517.2222 | 730720527.4444 |  | 2018-02-07 | 500000000 | 236040315.9444 | 403062966.1667
2018-02-08 | 850000000 | 339274905.8333 | 727938417 |  | 2018-02-08 | 500000000 | 143055029.6389 | 370235268.2222
2018-02-09 | 850000000 | 315620541.6667 | 700855742.9194 |  | 2018-02-09 | 500000000 | 160342429.75 | 463145203.6111
2018-02-10 | 850000000 | 351870783.0556 | 690717364.0278 |  | 2018-02-10 | 500000000 | 202350890.0278 | 452684374.2778
2018-02-11 | 850000000 | 457049719.7222 | 679223732.6639 |  | 2018-02-11 | 500000000 | 201341871.1667 | 467995657.6667
2018-02-12 | 850000000 | 357325712.5 | 674544078.0111 |  | 2018-02-12 | 500000000 | 234682191.7778 | 423417155.0278
2018-02-13 | 850000000 | 407874263.0556 | 691320191.8611 |  | 2018-02-13 | 500000000 | 199952472.4722 | 547860005.25
2018-02-14 | 850000000 | 441948957.7778 | 653121416.2556 |  | 2018-02-14 | 500000000 | 229844960.1389 | 611592185.2639
2018-02-15 | 850000000 | 308872274.4444 | 634694516.9944 |  | 2018-02-15 | 500000000 | 170693214.6667 | 582586406.0681
2018-02-16 | 850000000 | 313920034.1667 | 663661227.4194 |  | 2018-02-16 | 500000000 | 173079015.3333 | 572683850.8056
2018-02-17 | 850000000 | 356959057.5 | 629748911.9139 |  | 2018-02-17 | 500000000 | 155170248.6111 | 540827937.4167
2018-02-18 | 850000000 | 426241546.3889 | 651057687.1472 |  | 2018-02-18 | 500000000 | 114419050.75 | 537073971.0556
2018-02-19 | 850000000 | 397934688.3333 | 595817491.0167 |  | 2018-02-19 | 500000000 | 111927757.4444 | 543952039.3333
2018-02-20 | 850000000 | 352906265.8333 | 527259742.4028 |  | 2018-02-20 | 500000000 | 126559146.0833 | 543127092.1111
2018-02-21 | 850000000 | 403596054.7222 | 583267297.0278 |  | 2018-02-21 | 500000000 | 118108623.5 | 564898243.4083
2018-02-22 | 850000000 | 372325286.1111 | 612328871.325 |  | 2018-02-22 | 500000000 | 123702980.3611 | 514080244.8056
2018-02-23 | 850000000 | 351534229.4444 | 665415103.0139 |  | 2018-02-23 | 500000000 | 132045617.2778 | 515648203.8333
2018-02-24 | 850000000 | 364652222.5 | 664453689.3639 |  | 2018-02-24 | 500000000 | 79437292.4444 | 318637955.0278
2018-02-25 | 850000000 | 340538764.4444 | 687900410.7917 |  | 2018-02-25 | 500000000 | 127852521.9722 | 331803365.4722
2018-02-26 | 850000000 | 424477844.1667 | 583635937.7083 |  | 2018-02-26 | 500000000 | 113647007.5833 | 343523530.1389
2018-02-27 | 850000000 | 409497130.2778 | 580746353.8472 |  | 2018-02-27 | 500000000 | 184175564.8056 | 328042316.1111
2018-02-28 | 850000000 | 455240464.7222 | 396299675.5556 |  | 2018-02-28 | 500000000 | 173274514.0556 | 432333770.054
2018-03-01 | 850000000 | 448677602.2222 | 477960246.6028 |  | 2018-03-01 | 500000000 | 53545707.8611 | 524295717.5556
2018-03-02 | 850000000 | 444471129.7222 | 797384439.6556 |  | 2018-03-02 | 500000000 | 120177220.8611 | 645051806.5
2018-03-03 | 850000000 | 411635576.1111 | 704506301.7056 |  | 2018-03-03 | 500000000 | 78630970.1667 | 582928737.6111
2018-03-04 | 850000000 | 401957368.6111 | 764224798.7805 |  | 2018-03-04 | 500000000 | 79937673.5278 | 527800437.75
2018-03-05 | 850000000 | 435161991.6667 | 722620262.3167 |  | 2018-03-05 | 500000000 | 130050449.1111 | 533397726.9444
2018-03-06 | 850000000 | 362092648.3333 | 574706015.3611 |  | 2018-03-06 | 500000000 | 110605680.4722 | 524459364.5556
2018-03-07 | 850000000 | 412777894.4444 | 661377108.2389 |  | 2018-03-07 | 500000000 | 153025757.9722 | 452207821.8889
2018-03-08 | 850000000 | 378768122.2222 | 638639352.6083 |  | 2018-03-08 | 500000000 | 110085455.9722 | 507746936.4167
2018-03-09 | 850000000 | 371020154.1667 | 539931069.575 |  | 2018-03-09 | 500000000 | 107223399.5 | 505549002.4722
2018-03-10 | 850000000 | 486571921.1111 | 656632592.0445 |  | 2018-03-10 | 500000000 | 99613084 | 434162781.7222
2018-03-11 | 850000000 | 491886093.0556 | 627686908.3444 |  | 2018-03-11 | 500000000 | 20120779.5556 | 513498696.6111
2018-03-12 | 850000000 | 421933298.6111 | 695909838.9333 |  | 2018-03-12 | 500000000 | 50462181.0556 | 599996362.4167
2018-03-13 | 850000000 | 484090221.1111 | 600521026.2028 |  | 2018-03-13 | 500000000 | 52379668.0556 | 684059708.5
2018-03-14 | 850000000 | 490035444.4444 | 681054349.3333 |  | 2018-03-14 | 500000000 | 63400916.8333 | 588641928.5833
2018-03-15 | 850000000 | 458432931.6667 | 662726530.4333 |  | 2018-03-15 | 500000000 | 37105642.8889 | 540413336.6389
2018-03-16 | 850000000 | 460908612.7778 | 631487114.725 |  | 2018-03-16 | 500000000 | 51620588.3889 | 615806335.3611
2018-03-17 | 850000000 | 416701816.6667 | 589894389.9361 |  | 2018-03-17 | 500000000 | 101071902.3333 | 501115818.1667
2018-03-18 | 850000000 | 496677894.4444 | 587638226.6139 |  | 2018-03-18 | 500000000 | 81802747.3889 | 339100049.8333
2018-03-19 | 850000000 | 478248387.7778 | 555509009.6111 |  | 2018-03-19 | 500000000 | 59875172.8056 | 390275682.0556
2018-03-20 | 850000000 | 394638375.2778 | 531286586.3306 |  | 2018-03-20 | 500000000 | 103265766.5833 | 393702069.6667
2018-03-21 | 850000000 | 436427395.5556 | 585499283.1694 |  | 2018-03-21 | 500000000 | 133333246.8333 | 475683334.4167
2018-03-22 | 850000000 | 468962820.2778 | 629480346.7695 |  | 2018-03-22 | 500000000 | 80011478.8889 | 532693406.6944
2018-03-23 | 850000000 | 462951416.1111 | 616683860.2528 |  | 2018-03-23 | 500000000 | 83869998.8056 | 568872477.1944
2018-03-24 | 850000000 | 431159757.2222 | 518508489.4889 |  | 2018-03-24 | 500000000 | 77859589.1667 | 472713198.5
2018-03-25 | 850000000 | 280590038.3333 | 635139341.0806 |  | 2018-03-25 | 500000000 | 76654931.5833 | 450267574.0556
2018-03-26 | 850000000 | 438991706.6667 | 665300540.6917 |  | 2018-03-26 | 500000000 | 69332716.3056 | 486512451.9444
2018-03-27 | 850000000 | 418007820.2778 | 573876737.3889 |  | 2018-03-27 | 500000000 | 69059821.1667 | 436867967.6667
2018-03-28 | 850000000 | 366030698.3333 | 614467261.4056 |  | 2018-03-28 | 500000000 | 139058789.6667 | 392879301.1389
2018-03-29 | 850000000 | 414002607.2222 | 635664582.9972 |  | 2018-03-29 | 500000000 | 55209158.75 | 417633969.75
2018-03-30 | 850000000 | 424070573.0556 | 596117091.7056 |  | 2018-03-30 | 500000000 | 70651784.4167 | 377624994.1944
2018-03-31 | 850000000 | 468364951.6667 | 653371913.3917 |  | 2018-03-31 | 500000000 | 69566023 | 353210621.8333
2018-04-01 | 850000000 | 381526823.3333 | 777675020.5361 |  | 2018-04-01 | 500000000 | 72798787.3611 | 437919723.4167
2018-04-02 | 850000000 | 376942554.4444 | 799592084.1444 |  | 2018-04-02 | 500000000 | 104712213.9722 | 505425635.2222
2018-04-03 | 850000000 | 257831555.8333 | 685307848.9833 |  | 2018-04-03 | 500000000 | 60317012.5 | 372582200.0556
2018-04-04 | 850000000 | 253410676.9444 | 673714316.7222 |  | 2018-04-04 | 500000000 | 144514148.7222 | 320989067.9722
2018-04-05 | 850000000 | 369363742.7778 | 725809944.814 |  | 2018-04-05 | 500000000 | 39120218.25 | 393797522.3056
2018-04-06 | 850000000 | 363578149.7222 | 773375755.5695 |  | 2018-04-06 | 500000000 | 50484699.5 | 379980976.5686
2018-04-07 | 850000000 | 493744835.8333 | 718656835.1528 |  | 2018-04-07 | 500000000 | 201894522.8889 | 310165393.8611
2018-04-08 | 850000000 | 316447564.1667 | 675709941.5389 |  | 2018-04-08 | 500000000 | 211389087.4722 | 372609699.4167
2018-04-09 | 850000000 | 408633476.3889 | 836128708.6695 |  | 2018-04-09 | 500000000 | 63277300.3056 | 451521122.7076
2018-04-10 | 850000000 | 441695509.1667 | 496694802.839 |  | 2018-04-10 | 500000000 | 262876955.1389 | 379187251.6944
2018-04-11 | 850000000 | 217622249.1667 | 217379715.7722 |  | 2018-04-11 | 500000000 | 267043340.4444 | 573571038.7222
2018-04-12 | 850000000 | 433954648.6111 | 413630728.9778 |  | 2018-04-12 | 500000000 | 182932642.0278 | 466146767.6389
2018-04-13 | 850000000 | 414300178.0556 | 676223696.9 |  | 2018-04-13 | 500000000 | 159320336.5 | 498421910.3889
2018-04-14 | 850000000 | 437963495.8333 | 787303333.3 |  | 2018-04-14 | 500000000 | 140753377.9167 | 504674195.7222
2018-04-15 | 850000000 | 297534444.1667 | 791289985.3584 |  | 2018-04-15 | 500000000 | 150665198.8889 | 551091944.5833
2018-04-16 | 850000000 | 321892098.8889 | 782283789.9388 |  | 2018-04-16 | 500000000 | 58689677.75 | 535301507.0833
2018-04-17 | 850000000 | 361622430.2778 | 805784462.3611 |  | 2018-04-17 | 500000000 | 132632988.4444 | 540228843.4167
2018-04-18 | 850000000 | 394106240.8333 | 781533996.0639 |  | 2018-04-18 | 500000000 | 120638061.4167 | 478015130.5278
2018-04-19 | 850000000 | 372161920.2778 | 730615625.3639 |  | 2018-04-19 | 500000000 | 108797914.75 | 489206167.3611
2018-04-20 | 850000000 | 369716823.3333 | 715360175.5167 |  | 2018-04-20 | 500000000 | 177500734.0833 | 418241803.8611
2018-04-21 | 850000000 | 377013324.1667 | 825594173.8417 |  | 2018-04-21 | 500000000 | 147686955.7222 | 447131498.9167
2018-04-22 | 850000000 | 407638458.8889 | 828682376.1167 |  | 2018-04-22 | 500000000 | 115275305.0278 | 523950225.5556
2018-04-23 | 850000000 | 361837339.4444 | 818706292.7055 |  | 2018-04-23 | 500000000 | 168472798.7222 | 506105473.1389
2018-04-24 | 850000000 | 350197025.5556 | 827273366.5444 |  | 2018-04-24 | 500000000 | 112720107.5264 | 493840382.3056
2018-04-25 | 850000000 | 286238475.8333 | 829968654.8194 |  | 2018-04-25 | 500000000 | 204439483.7736 | 453300518.6944
2018-04-26 | 850000000 | 317527267.7778 | 831953483.7806 |  | 2018-04-26 | 500000000 | 142804500.0375 | 427849919.9444
2018-04-27 | 850000000 | 282164339.4444 | 649515781.7223 |  | 2018-04-27 | 500000000 | 147916418.1667 | 417162715.4444
2018-04-28 | 850000000 | 253205471.6667 | 738672662.7084 |  | 2018-04-28 | 500000000 | 210440877.7778 | 392157260.3611
2018-04-29 | 850000000 | 288486918.6111 | 713622362.2917 |  | 2018-04-29 | 500000000 | 201501061.3889 | 435616990.5556
2018-04-30 | 850000000 | 315434504.1667 | 719750576.9528 |  | 2018-04-30 | 500000000 | 181167862.6444 | 417464047.8056
2018-05-01 | 850000000 | 345870731.1111 | 712632380.1666 |  | 2018-05-01 | 500000000 | 205876763.8542 | 467449451.1944
2018-05-02 | 850000000 | 400846401.6667 | 781921153.2888 |  | 2018-05-02 | 500000000 | 203355437.0833 | 403368593.1111
2018-05-03 | 850000000 | 278454871.9444 | 722105553.5389 |  | 2018-05-03 | 500000000 | 172115756.0556 | 361623615.3611
2018-05-04 | 850000000 | 314447998.6111 | 704439752.7556 |  | 2018-05-04 | 500000000 | 125497321.3611 | 312849481.5
2018-05-05 | 850000000 | 370313647.2222 | 799148466.3028 |  | 2018-05-05 | 500000000 | 126690738.4167 | 468351831.0556
2018-05-06 | 850000000 | 355619273.6111 | 786025485.1833 |  | 2018-05-06 | 500000000 | 238581399.5556 | 515637911.5
2018-05-07 | 850000000 | 449683030 | 744587162.0222 |  | 2018-05-07 | 500000000 | 101860467.9444 | 494881187.1111
2018-05-08 | 850000000 | 428917597.2222 | 731682992.6417 |  | 2018-05-08 | 500000000 | 88653954.75 | 401531733.2222
2018-05-09 | 850000000 | 433343619.1667 | 674509315.2778 |  | 2018-05-09 | 500000000 | 243497209.8333 | 346291982.1667
2018-05-10 | 850000000 | 296678478.3333 | 810718247.9334 |  | 2018-05-10 | 500000000 | 212281416.5833 | 431535021.3333
2018-05-11 | 850000000 | 327526672.2222 | 793914112.0806 |  | 2018-05-11 | 500000000 | 180395879.0556 | 472005288.4722
2018-05-12 | 850000000 | 410534390.2778 | 785239876.1361 |  | 2018-05-12 | 500000000 | 269044942 | 385593706.2222
2018-05-13 | 850000000 | 388304546.3889 | 808784436.1278 |  | 2018-05-13 | 500000000 | 224825489.4167 | 377497334.2778
2018-05-14 | 850000000 | 357155971.9444 | 793411817.025 |  | 2018-05-14 | 500000000 | 121405213.5833 | 372376112.6111
2018-05-15 | 850000000 | 374139056.3889 | 820441673.65 |  | 2018-05-15 | 500000000 | 125468639.5 | 339997198.5278
2018-05-16 | 850000000 | 293489097.7778 | 814984314.2166 |  | 2018-05-16 | 500000000 | 261755456.1389 | 414483025.0278
2018-05-17 | 850000000 | 264648311.6667 | 794811254.3556 |  | 2018-05-17 | 500000000 | 162296104.9444 | 380609762.6944
2018-05-18 | 850000000 | 296033938.3333 | 805667933.6278 |  | 2018-05-18 | 500000000 | 111180917.8056 | 432836146.6389
2018-05-19 | 850000000 | 384976072.5 | 737757467.5806 |  | 2018-05-19 | 500000000 | 201007014.8333 | 423944399.4722
2018-05-20 | 850000000 | 368446745.8333 | 731849220.4556 |  | 2018-05-20 | 500000000 | 239090135.0278 | 445309704.9444
2018-05-21 | 850000000 | 293289979.7222 | 730449561.1168 |  | 2018-05-21 | 500000000 | 105995394.6389 | 476865231.7778
2018-05-22 | 850000000 | 357926736.6667 | 744231391.6946 |  | 2018-05-22 | 500000000 | 194820736.1944 | 482037758.1389
2018-05-23 | 850000000 | 383627840 | 737039462.7334 |  | 2018-05-23 | 500000000 | 232483428.3056 | 560618334.7778
2018-05-24 | 850000000 | 334171641.6667 | 524491481.2834 |  | 2018-05-24 | 500000000 | 267132520.6111 | 361594947.6111
2018-05-25 | 850000000 | 335133801.9444 | 617751182.4278 |  | 2018-05-25 | 500000000 | 266999203.4722 | 466897212.8333
2018-05-26 | 850000000 | 340692258.8889 | 590060524.7918 |  | 2018-05-26 | 500000000 | 272969733.5833 | 389312063.1667
2018-05-27 | 850000000 | 385156149.4444 | 597305213.9972 |  | 2018-05-27 | 500000000 | 224872463.8889 | 365016060.3056
2018-05-28 | 850000000 | 313718229.7222 | 562849350.3055 |  | 2018-05-28 | 500000000 | 121257197.4722 | 363815452.4722
2018-05-29 | 850000000 | 288222498.0556 | 574142165.45 |  | 2018-05-29 | 500000000 | 194220788.2222 | 407965740.7778
2018-05-30 | 850000000 | 301277978.0556 | 535020071.7112 |  | 2018-05-30 | 500000000 | 224671227.5278 | 303088447.7222
2018-05-31 | 850000000 | 279746270.2778 | 465746248.0584 |  | 2018-05-31 | 500000000 | 264600354.5278 | 457844991.0278
2018-06-01 | 850000000 | 241199892.7778 | 657206238.0223 |  | 2018-06-01 | 500000000 | 299835210.5278 | 458732293.75
2018-06-02 | 850000000 | 449638781.1111 | 696004548.5806 |  | 2018-06-02 | 500000000 | 303261744.8889 | 417013568.1389
2018-06-03 | 850000000 | 404304164.1667 | 684564402.4028 |  | 2018-06-03 | 500000000 | 237982782.4722 | 485366925.3889
2018-06-04 | 850000000 | 220412054.1667 | 677329249.3306 |  | 2018-06-04 | 500000000 | 177222895.9444 | 461391473.6111
2018-06-05 | 850000000 | 314247296.6667 | 647080757.1639 |  | 2018-06-05 | 500000000 | 227832980.4722 | 523686522.0278
2018-06-06 | 850000000 | 314034777.5 | 648519998.2833 |  | 2018-06-06 | 500000000 | 282465407.7778 | 494054137.8333
2018-06-07 | 850000000 | 413073090.8333 | 719918056.1111 |  | 2018-06-07 | 500000000 | 270358873.6944 | 467792479.4444
2018-06-08 | 850000000 | 432765346.3889 | 747147776.6668 |  | 2018-06-08 | 500000000 | 232097522.6111 | 397897056.4167
2018-06-09 | 850000000 | 436579950.8333 | 734687820.3056 |  | 2018-06-09 | 500000000 | 237428043.4167 | 341489337.4167
2018-06-10 | 850000000 | 389823426.6667 | 807935044.8166 |  | 2018-06-10 | 500000000 | 250279734.8056 | 408582863.0556
2018-06-11 | 850000000 | 278756378.0556 | 839775194.6056 |  | 2018-06-11 | 500000000 | 248512336.7222 | 400498291.0278
2018-06-12 | 850000000 | 379717820.5556 | 818689112.2251 |  | 2018-06-12 | 500000000 | 290738155.8056 | 200512438.8333
2018-06-13 | 850000000 | 444143692.2222 | 858370591.2361 |  | 2018-06-13 | 500000000 | 290282489.3056 | 161066858.6667
2018-06-14 | 850000000 | 350925696.9444 | 848680214.7945 |  | 2018-06-14 | 500000000 | 278230097.5833 | 424473216.7222
2018-06-15 | 850000000 | 359193342.7778 | 683797039.4917 |  | 2018-06-15 | 500000000 | 281008946.9444 | 471778076.7778
2018-06-16 | 850000000 | 360732068.8889 | 696085423.1778 |  | 2018-06-16 | 500000000 | 246659094.5278 | 445737476.6667
2018-06-17 | 850000000 | 422889811.1111 | 743029601.3 |  | 2018-06-17 | 500000000 | 202021163.25 | 434550827.4722
2018-06-18 | 850000000 | 308628498.0556 | 768457028.2944 |  | 2018-06-18 | 500000000 | 296295175.3333 | 407816026.8333
2018-06-19 | 850000000 | 375015559.1667 | 749024621.4306 |  | 2018-06-19 | 500000000 | 256760818.5278 | 454645164.3611
2018-06-20 | 850000000 | 379249324.4444 | 738250825.375 |  | 2018-06-20 | 500000000 | 262823289.0278 | 414863540.5278
2018-06-21 | 850000000 | 428228701.6667 | 715170667.6694 |  | 2018-06-21 | 500000000 | 242583481.2778 | 448512194.1667
2018-06-22 | 850000000 | 453057534.1667 | 794742909.1695 |  | 2018-06-22 | 500000000 | 257761837.1667 | 359425596.7222
2018-06-23 | 850000000 | 411731177.7778 | 830116699.9139 |  | 2018-06-23 | 500000000 | 316161660.5833 | 310424447.0278
2018-06-24 | 850000000 | 443415402.2222 | 840708774.5194 |  | 2018-06-24 | 500000000 | 76792466.5833 | 333109898.3889
2018-06-25 | 850000000 | 420605071.6667 | 835879862.3416 |  | 2018-06-25 | 500000000 | 69697723.6944 | 408926634.7778
2018-06-26 | 850000000 | 432025156.6667 | 837072768.4444 |  | 2018-06-26 | 500000000 | 119014900.6111 | 381846609.3611
2018-06-27 | 850000000 | 421741378.6111 | 786454074.6694 |  | 2018-06-27 | 500000000 | 108385904.5 | 425783809.8333
2018-06-28 | 850000000 | 401515773.0556 | 819447686.6501 |  | 2018-06-28 | 500000000 | 132765542.4722 | 303060969
2018-06-29 | 850000000 | 410487553.3333 | 833544008.5082 |  | 2018-06-29 | 500000000 | 191141110.4167 | 234630646.1389
2018-06-30 | 850000000 | 373196550.5556 | 809092101.5417 |  | 2018-06-30 | 500000000 | 145436690.6667 | 243260738.2222
2018-07-01 | 850000000 | 386168292.5 | 846155200.7889 |  | 2018-07-01 | 500000000 | 68807102.8333 | 169014836.4167
2018-07-02 | 850000000 | 454189927.2222 | 848784266.4556 |  | 2018-07-02 | 500000000 | 81505195.25 | 152655819.0278
2018-07-03 | 850000000 | 421123393.6111 | 847088363.4779 |  | 2018-07-03 | 500000000 | 126115846.3889 | 176276058.4722
2018-07-04 | 850000000 | 324906229.4444 | 846649009.9555 |  | 2018-07-04 | 500000000 | 245602373.9722 | 162191385.6944
2018-07-05 | 850000000 | 383269471.1111 | 853977361.0972 |  | 2018-07-05 | 500000000 | 156046508.4722 | 136200422.25
2018-07-06 | 850000000 | 387438871.9444 | 839021524.3306 |  | 2018-07-06 | 500000000 | 183905144.6944 | 242250016.5556
2018-07-07 | 850000000 | 391728768.6111 | 840388355.15 |  | 2018-07-07 | 500000000 | 232558561.0278 | 140906411.5556
2018-07-08 | 850000000 | 391733290.8333 | 818039840.2277 |  | 2018-07-08 | 500000000 | 196276842 | 152872815.6667
2018-07-09 | 850000000 | 314350823.8889 | 814785326.0806 |  | 2018-07-09 | 500000000 | 159536515.2222 | 225351556.3056
2018-07-10 | 850000000 | 317509184.4444 | 817885480.3306 |  | 2018-07-10 | 500000000 | 196825758.1667 | 292732165.0278
2018-07-11 | 850000000 | 255233498.0556 | 807026407.0694 |  | 2018-07-11 | 500000000 | 244654477.9167 | 293239879.8333
2018-07-12 | 850000000 | 397821959.4444 | 748966211.3417 |  | 2018-07-12 | 500000000 | 250887926.8056 | 284286141.8056
2018-07-13 | 850000000 | 394620425 | 767590467.7695 |  | 2018-07-13 | 500000000 | 234848686.4167 | 379499423.75
2018-07-14 | 850000000 | 395187365.2778 | 741084768.3416 |  | 2018-07-14 | 500000000 | 120438520.4167 | 359866146.2222
2018-07-15 | 850000000 | 305678951.9444 | 707790133.7806 |  | 2018-07-15 | 500000000 | 90868530.1944 | 448893304.3333
2018-07-16 | 850000000 | 330456660.2778 | 737392099.2639 |  | 2018-07-16 | 500000000 | 208673188.3333 | 426429066.4167
2018-07-17 | 850000000 | 344982290 | 796018836.3083 |  | 2018-07-17 | 500000000 | 197306567.3056 | 43316551.9167
2018-07-18 | 850000000 | 321627465.2778 | 799930128.0195 |  | 2018-07-18 | 500000000 | 194498369.4167 | 56259176.1111
2018-07-19 | 850000000 | 440817970.5556 | 801710816.9695 |  | 2018-07-19 | 500000000 | 266253024.1389 | 8393626.25
2018-07-20 | 850000000 | 444087381.6667 | 718173366.7195 |  | 2018-07-20 | 500000000 | 297171629.4444 | 21011355.2778
2018-07-21 | 850000000 | 307963182.5 | 615759442.9445 |  | 2018-07-21 | 500000000 | 398271078.8889 | 76657028.6111
2018-07-22 | 850000000 | 209832072.2222 | 667064591.5638 |  | 2018-07-22 | 500000000 | 355914094.4167 | 91775019.8611
2018-07-23 | 850000000 | 283564759.1667 | 790289718.6723 |  | 2018-07-23 | 500000000 | 384696698.0833 | -70997374.3056
2018-07-24 | 850000000 | 300190109.4444 | 785538769.8609 |  | 2018-07-24 | 500000000 | 276499765.1111 | 3141832.0833
2018-07-25 | 850000000 | 369866583.8889 | 788303384.4056 |  | 2018-07-25 | 500000000 | 242284147.6153 | 9049986.3889
2018-07-26 | 850000000 | 415776748.6111 | 765765533.7222 |  | 2018-07-26 | 500000000 | 276288017.0556 | 39646678.6111
2018-07-27 | 850000000 | 431121493.8889 | 748599723.2084 |  | 2018-07-27 | 500000000 | 277636885.1944 | -24358246.6667
2018-07-28 | 850000000 | 404414663.8889 | 649477172.6694 |  | 2018-07-28 | 500000000 | 205672472.0833 | -34964071.9444
2018-07-29 | 850000000 | 396744834.4444 | 726121802.8832 |  | 2018-07-29 | 500000000 | 235147690.5 | 11935732.6389
2018-07-30 | 850000000 | 401259798.3333 | 794631994.975 |  | 2018-07-30 | 500000000 | 175136465.9167 | 889233.8889
2018-07-31 | 850000000 | 377799020.8333 | 828211247.6916 |  | 2018-07-31 | 500000000 | 212612402.5278 | 87018293.3889
2018-08-01 | 850000000 | 408047831.9444 | 814417373.9112 |  | 2018-08-01 | 500000000 | 202118025.2778 | 340481223.4444
2018-08-02 | 850000000 | 423023809.7222 | 817834876.3584 |  | 2018-08-02 | 500000000 | 276031913.0556 | 309925284.2222
2018-08-03 | 850000000 | 422257711.1111 | 828049316.1666 |  | 2018-08-03 | 500000000 | 282063863.1944 | 193264227.4444
2018-08-04 | 850000000 | 452541682.2222 | 843754567.7278 |  | 2018-08-04 | 500000000 | 232361334.9444 | 218570824.8611
2018-08-05 | 850000000 | 350189665.5556 | 846031226.3612 |  | 2018-08-05 | 500000000 | 160429857.4444 | 174690466.3889
2018-08-06 | 850000000 | 387417464.1667 | 849926877.3056 |  | 2018-08-06 | 500000000 | 195944999.9722 | 168295381.9444
2018-08-07 | 850000000 | 416612780.8333 | 806421159.4194 |  | 2018-08-07 | 500000000 | 286905547.6389 | 230585143.2222
2018-08-08 | 850000000 | 431429880.5556 | 863640398.4751 |  | 2018-08-08 | 500000000 | 276308713.9167 | 275739269.5556
2018-08-09 | 850000000 | 387203557.2222 | 744540163.0139 |  | 2018-08-09 | 500000000 | 249404749.7778 | 321854204.5556
2018-08-10 | 850000000 | 425322409.1667 | 803832556.8472 |  | 2018-08-10 | 500000000 | 246614638.3333 | 296653623.2222
2018-08-11 | 850000000 | 393991654.4444 | 823507160.25 |  | 2018-08-11 | 500000000 | 256539596.0833 | 261545447.6944
2018-08-12 | 850000000 | 406552121.6667 | 789361863.2305 |  | 2018-08-12 | 500000000 | 305133503.2778 | 311824312.1944
2018-08-13 | 850000000 | 507274278.3333 | 850238207.4833 |  | 2018-08-13 | 500000000 | 174158452.6944 | 337115961.2676
2018-08-14 | 850000000 | 392453072.2222 | 845067910.5222 |  | 2018-08-14 | 500000000 | 201179844.1944 | 19691604.8333
2018-08-15 | 850000000 | 372809357.5 | 844210285.3334 |  | 2018-08-15 | 500000000 | 261891920.1111 | 136441429.5833
2018-08-16 | 850000000 | 126030553.8889 | 858399194.7223 |  | 2018-08-16 | 500000000 | 330839777.4167 | 144521084.8889
2018-08-17 | 850000000 | 117743795 | 845902164.6111 |  | 2018-08-17 | 500000000 | 331967619.5278 | 277743945.8889
2018-08-18 | 850000000 | 201909907.5 | 787500916.8166 |  | 2018-08-18 | 500000000 | 258423957.3056 | 330194621.9722
2018-08-19 | 850000000 | 266909587.7778 | 768245011.9944 |  | 2018-08-19 | 500000000 | 218840130.4167 | 283962496.3056
2018-08-20 | 850000000 | 266057448.0556 | 832530669.325 |  | 2018-08-20 | 500000000 | 241421547 | 386456792.3333
2018-08-21 | 850000000 | 247630192.5 | 854937525.4277 |  | 2018-08-21 | 500000000 | 222078196.2222 | 401644442
2018-08-22 | 850000000 | 237903246.6667 | 796334205.3056 |  | 2018-08-22 | 500000000 | 223102252.25 | 316480999
2018-08-23 | 850000000 | 227564197.7778 | 823218222.4777 |  | 2018-08-23 | 500000000 | 222423962.2222 | 359857455.9167
2018-08-24 | 850000000 | 230562361.1111 | 816075356.0833 |  | 2018-08-24 | 500000000 | 213370886.25 | 326404966.6667
2018-08-25 | 850000000 | 235468725.2778 | 771369508.5556 |  | 2018-08-25 | 500000000 | 164278590.8056 | 366730115.2778
2018-08-26 | 850000000 | 260650687.5 | 749889119.5472 |  | 2018-08-26 | 500000000 | 91689483.7778 | 323918647.3611
2018-08-27 | 850000000 | 239237564.1667 | 798827215.7389 |  | 2018-08-27 | 500000000 | 139599919.1111 | 313893945.3889
2018-08-28 | 850000000 | 291334740.5556 | 673214098.3445 |  | 2018-08-28 | 500000000 | 102106678.5556 | 363192418.0833
2018-08-29 | 850000000 | 381261856.3889 | 633856581.8638 |  | 2018-08-29 | 500000000 | 175540210.8889 | 350809493.3889
2018-08-30 | 850000000 | 390246324.1667 | 668015163.6945 |  | 2018-08-30 | 500000000 | 241247349.5556 | 260099833.2778
2018-08-31 | 850000000 | 363230037.2222 | 714697857.9917 |  | 2018-08-31 | 500000000 | 242040126.3333 | 340312995.6111
2018-09-01 | 850000000 | 412223822.7778 | 725447418.9612 |  | 2018-09-01 | 500000000 | 302924739.1389 | 393467684.2222
2018-09-02 | 850000000 | 408297393.0556 | 791157904.5861 |  | 2018-09-02 | 500000000 | 356270962.25 | 348867882.0556
2018-09-03 | 850000000 | 481962864.4444 | 724700277.5222 |  | 2018-09-03 | 500000000 | 324471762.6111 | 426582847.3056
2018-09-04 | 850000000 | 425083979.4444 | 758701600.3028 |  | 2018-09-04 | 500000000 | 305843571.2222 | 403496422.8611
2018-09-05 | 850000000 | 506120823.6111 | 829854163.0307 |  | 2018-09-05 | 500000000 | 364709401.3611 | 393559980.9722
2018-09-06 | 850000000 | 462110540.8333 | 464653092.5972 |  | 2018-09-06 | 500000000 | 296719553.0556 | 692608114.4167
2018-09-07 | 850000000 | 444669223.3333 | 817772569.5861 |  | 2018-09-07 | 500000000 | 315451296.8889 | 493421762.5833
2018-09-08 | 850000000 | 480634738.3333 | 770275129.5833 |  | 2018-09-08 | 500000000 | 299394824.5278 | 435296518.5833
2018-09-09 | 850000000 | 400285061.6667 | 771813260.3695 |  | 2018-09-09 | 500000000 | 293585537.4444 | 418944551.8333
2018-09-10 | 850000000 | 469008121.3889 | 756286303.7555 |  | 2018-09-10 | 500000000 | 296796896.3056 | 495808132.6667
2018-09-11 | 850000000 | 413054366.9444 | 703273334.2528 |  | 2018-09-11 | 500000000 | 273667471.7222 | 474300911.0278
2018-09-12 | 850000000 | 618140686.1111 | 823283189.0083 |  | 2018-09-12 | 500000000 | 210811244.8056 | 495583873.1944
2018-09-13 | 850000000 | 513153210.2778 | 845152989.6167 |  | 2018-09-13 | 500000000 | 184555856.5833 | 426231973.4444
2018-09-14 | 850000000 | 422862434.7222 | 805080518.2529 |  | 2018-09-14 | 500000000 | 176034311.6667 | 467722745.7222
2018-09-15 | 850000000 | 531518026.1111 | 773281631.8916 |  | 2018-09-15 | 500000000 | 231527244.8056 | 462843770.2222
2018-09-16 | 850000000 | 626625640.8333 | 803230762.5668 |  | 2018-09-16 | 500000000 | 118925132.2222 | 465980016.8056
2018-09-17 | 850000000 | 535460320.8333 | 785932472.8472 |  | 2018-09-17 | 500000000 | 68666405.4167 | 494593021.5278
2018-09-18 | 850000000 | 572278907.5 | 825935206.411 |  | 2018-09-18 | 500000000 | 185670456.6389 | 363384634.5278
2018-09-19 | 850000000 | 543951273.6111 | 794024138.7861 |  | 2018-09-19 | 500000000 | 181368952.4722 | 389289661.5
2018-09-20 | 850000000 | 564424121.6667 | 712898883.5944 |  | 2018-09-20 | 500000000 | 211869987.6944 | 419251943.7222
2018-09-21 | 850000000 | 574133538.8889 | 756513687.0249 |  | 2018-09-21 | 500000000 | 218119649.8333 | 402138690
2018-09-22 | 850000000 | 542270798.6111 | 737388528.8166 |  | 2018-09-22 | 500000000 | 186364255.75 | 436434181.5
2018-09-23 | 850000000 | 464549349.7222 | 787740748.7388 |  | 2018-09-23 | 500000000 | 153478156.1111 | 449399425.2222
2018-09-24 | 850000000 | 522011098.0556 | 845570625.089 |  | 2018-09-24 | 500000000 | 132102534.8611 | 276178113.1944
2018-09-25 | 850000000 | 483732615.8333 | 819131786.0139 |  | 2018-09-25 | 500000000 | 251401760.9167 | 404627749.6944
2018-09-26 | 850000000 | 560688086.6667 | 665153127.5916 |  | 2018-09-26 | 500000000 | 224232004.4444 | 409663392.8611
2018-09-27 | 850000000 | 538356262.2222 | 368176589.3805 |  | 2018-09-27 | 500000000 | 206120852.1944 | 456864753.8611
2018-09-28 | 850000000 | 513323297.2222 | 638035305.525 |  | 2018-09-28 | 500000000 | 208306760.1111 | 464830054.5556
2018-09-29 | 850000000 | 546877670 | 792278986.4861 |  | 2018-09-29 | 500000000 | 184451227.8056 | 487973050.3333
2018-09-30 | 850000000 | 572801335.2778 | 750570581.3027 |  | 2018-09-30 | 500000000 | 231078778.3611 | 507698397.4722
2018-10-01 | 850000000 | 486645359.4444 | 518208159.8834 |  | 2018-10-01 | 500000000 | 78674888.9167 | 537053848.5278
2018-10-02 | 850000000 | 538745773.3333 | 751194262.4251 |  | 2018-10-02 | 500000000 | 162187030.7778 | 489627717
2018-10-03 | 850000000 | 503971832.5 | 813285973.9473 |  | 2018-10-03 | 500000000 | 146327670.9167 | 441420266.6111
2018-10-04 | 850000000 | 477789430 | 838491439.2694 |  | 2018-10-04 | 500000000 | 69178894.6111 | 375541459
2018-10-05 | 850000000 | 487282298.6111 | 780338067.2723 |  | 2018-10-05 | 500000000 | 33420376.6389 | 385709259.3333
2018-10-06 | 850000000 | 483020196.6667 | 691128726.5722 |  | 2018-10-06 | 500000000 | -23757358.7778 | 361921333.5278
2018-10-07 | 850000000 | 415126521.6667 | 691996461.8972 |  | 2018-10-07 | 500000000 | 24397465.25 | 420894163.6311
2018-10-08 | 850000000 | 433177230.2778 | 698396059.6 |  | 2018-10-08 | 500000000 | -25886886.6667 | 459039772.0578
2018-10-09 | 850000000 | 381483620 | 718633987.8417 |  | 2018-10-09 | 500000000 | 24894019.6125 | 527020223.1611
2018-10-10 | 850000000 | 346267634.7222 | 851947617.3195 |  | 2018-10-10 | 500000000 | 60917499.7778 | 470183239.8881
2018-10-11 | 850000000 | 440156133.0556 | 833698988.2972 |  | 2018-10-11 | 500000000 | 78521669.9667 | 330858119.1403
2018-10-12 | 850000000 | 432603848.0556 | 799678192.1082 |  | 2018-10-12 | 500000000 | 144561563.6194 | 304555080.4958
2018-10-13 | 850000000 | 455969619.7222 | 662465000.9222 |  | 2018-10-13 | 500000000 | 107771729.2222 | 324462681.3806
2018-10-14 | 850000000 | 438224690.5556 | 686024144.8834 |  | 2018-10-14 | 500000000 | 91104858.25 | 382872807.0808
2018-10-15 | 850000000 | 460820442.7778 | 649051791.336 |  | 2018-10-15 | 500000000 | 123377344.2778 | 279728095.0197
2018-10-16 | 850000000 | 460545923.0556 | 712690052.4306 |  | 2018-10-16 | 500000000 | 140783512.3056 | 170905185.4178
2018-10-17 | 850000000 | 463928569.7222 | 701906398.1167 |  | 2018-10-17 | 500000000 | 174576450.3333 | 206417609.4936
2018-10-18 | 850000000 | 457326010.8333 | 749949077.1194 |  | 2018-10-18 | 500000000 | 170834547.3056 | 297909292.0356
2018-10-19 | 850000000 | 452513974.7222 | 652723170.9111 |  | 2018-10-19 | 500000000 | 191547535.4444 | 284053252.4725
2018-10-20 | 850000000 | 487533554.4444 | 684267113.7556 |  | 2018-10-20 | 500000000 | 181479973.2222 | 430933487.3094
2018-10-21 | 850000000 | 423792089.1667 | 697554432.3778 |  | 2018-10-21 | 500000000 | 145390738.2222 | 269742591.3708
2018-10-22 | 850000000 | 427464276.9444 | 651917946.1805 |  | 2018-10-22 | 500000000 | 110250095.75 | 310328360.0014
2018-10-23 | 850000000 | 423528339.4444 | 527355802.4027 |  | 2018-10-23 | 500000000 | 93693257.6667 | 279675641.6539
2018-10-24 | 850000000 | 406765356.3889 | 721170173.0722 |  | 2018-10-24 | 500000000 | 98612096.5833 | 157566356.3142
2018-10-25 | 850000000 | 426653633.0556 | 578991167.0028 |  | 2018-10-25 | 500000000 | 150752375.5833 | 416102806.4181
2018-10-26 | 850000000 | 448427875.2778 | 629081260.4584 |  | 2018-10-26 | 500000000 | 103297064.5278 | 452428013.1917
2018-10-27 | 850000000 | 417862416.9444 | 649157001.8417 |  | 2018-10-27 | 500000000 | 63992597.1111 | 483985573.4711
2018-10-28 | 850000000 | 416979813.0556 | 569460455.5584 |  | 2018-10-28 | 500000000 | 30753732.1389 | 402591938.0781
2018-10-29 | 850000000 | 456472315 | 544058194.6861 |  | 2018-10-29 | 500000000 | 18394027.6667 | 366635523.9817
2018-10-30 | 850000000 | 511126765.8333 | 462578911.5667 |  | 2018-10-30 | 500000000 | 77058943.9167 | 407711928.3453
2018-10-31 | 850000000 | 469060520.8333 | 455561307.8084 |  | 2018-10-31 | 500000000 | 25214218.5 | 477850656.2936
2018-11-01 | 850000000 | 351887342.5 | 537864306.3 |  | 2018-11-01 | 500000000 | -22748934.0833 | 462331282.9067
2018-11-02 | 850000000 | 352176079.1667 | 456267228.8444 |  | 2018-11-02 | 500000000 | -93406611.5833 | 493363561.0314
2018-11-03 | 850000000 | 404665078.3333 | 440482629.2916 |  | 2018-11-03 | 500000000 | 82324520.8889 | 610384715.1381
2018-11-04 | 850000000 | 442948149.1667 | 484647099.5639 |  | 2018-11-04 | 500000000 | 41027651.1389 | 504344236.8036
2018-11-05 | 850000000 | 484258515.8333 | 445965219.6057 |  | 2018-11-05 | 500000000 | 113628741.0278 | 457234225.4944
2018-11-06 | 850000000 | 424104316.6667 | 651494464.1778 |  | 2018-11-06 | 500000000 | 54703941.8056 | 395095024.0972
2018-11-07 | 850000000 | 326357571.6667 | 606325960.7861 |  | 2018-11-07 | 500000000 | 21856034.25 | 448186359.2514
2018-11-08 | 850000000 | 353506475.8333 | 320537492.2916 |  | 2018-11-08 | 500000000 | 41084358.4722 | 396945645.5953
2018-11-09 | 850000000 | 358546131.9444 | 606199747.2167 |  | 2018-11-09 | 500000000 | 25182318.9167 | 460596680.55
2018-11-10 | 850000000 | 415590475.2778 | 704070108.1806 |  | 2018-11-10 | 500000000 | 34320171.1389 | 474127687.6681
2018-11-11 | 850000000 | 423455805.2778 | 680294007.1112 |  | 2018-11-11 | 500000000 | 46982828.5 | 499225472.4414
2018-11-12 | 850000000 | 416803464.7222 | 723328034.7555 |  | 2018-11-12 | 500000000 | 18216681.9722 | 371161224.8878
2018-11-13 | 850000000 | 484993343.3333 | 765429020.3916 |  | 2018-11-13 | 500000000 | 57664496.6667 | 450685816.1514
2018-11-14 | 850000000 | 490575182.7778 | 746356429.5082 |  | 2018-11-14 | 500000000 | 65026028.9167 | 458602429.8764
2018-11-15 | 850000000 | 483392700.5556 | 776714098.3945 |  | 2018-11-15 | 500000000 | 78213925.4167 | 519822974.0181
2018-11-16 | 850000000 | 481165282.5 | 767132322.0056 |  | 2018-11-16 | 500000000 | 76243441.6944 | 517106039.5767
2018-11-17 | 850000000 | 501625932.5 | 680703839.6223 |  | 2018-11-17 | 500000000 | 35980911.1667 | 358829075.2376
2018-11-18 | 850000000 | 504592092.7778 | 712798743.3611 |  | 2018-11-18 | 500000000 | 75234785.4167 | 505698827.1564
2018-11-19 | 850000000 | 506222000.5556 | 615764895.6221 |  | 2018-11-19 | 500000000 | 96291571.1111 | 496839578.1722
2018-11-20 | 850000000 | 497705551.1111 | 521838411.7306 |  | 2018-11-20 | 500000000 | 93775217.75 | 575199121.1947
2018-11-21 | 850000000 | 508037718.0556 | 462227009.3416 |  | 2018-11-21 | 500000000 | 96968945.5 | 511769336.8711
2018-11-22 | 850000000 | 501260852.7778 | 458339894.2667 |  | 2018-11-22 | 500000000 | 90778012.6111 | 568174860.7439
2018-11-23 | 850000000 | 497382730 | 462333429.3694 |  | 2018-11-23 | 500000000 | 88914044.3056 | 544665704.3222
2018-11-24 | 850000000 | 514900487.7778 | 520505534.2556 |  | 2018-11-24 | 500000000 | 58103733.6944 | 573334741.8492
2018-11-25 | 850000000 | 503725499.4444 | 533877503.1 |  | 2018-11-25 | 500000000 | 106541024.4444 | 596548743.2328
2018-11-26 | 850000000 | 502439113.8889 | 442288958.0167 |  | 2018-11-26 | 500000000 | 104498604.7778 | 574866101.5164
2018-11-27 | 850000000 | 495158735.2778 | 589231526.9 |  | 2018-11-27 | 500000000 | 40338878.8333 | 224283479.6739
2018-11-28 | 850000000 | 484373813.8889 | 629695170.9111 |  | 2018-11-28 | 500000000 | -2704092 | 328761468.2086
2018-11-29 | 850000000 | 509123163.0556 | 386959765.6027 |  | 2018-11-29 | 500000000 | 77042766 | 730147672.0328
2018-11-30 | 850000000 | 508030996.6667 | 690143905.9585 |  | 2018-11-30 | 500000000 | 84806506.7222 | 520701811.5189
2018-12-01 | 850000000 | 488357816.3889 | 640279934.2638 |  | 2018-12-01 | 500000000 | 120721521.6944 | 504801038.4686
2018-12-02 | 850000000 | 509810521.9444 | 698561459.1945 |  | 2018-12-02 | 500000000 | 137075211.1792 | 445525542.5183
2018-12-03 | 850000000 | 511489892.7778 | 641815486.0333 |  | 2018-12-03 | 500000000 | 108165345.025 | 556245380.8992
2018-12-04 | 850000000 | 476062555 | 584173332.0639 |  | 2018-12-04 | 500000000 | 87649661.9444 | 436290627.7014
2018-12-05 | 850000000 | 483190994.4444 | 597090535.4139 |  | 2018-12-05 | 500000000 | 101889419.1944 | 589337856.375
2018-12-06 | 850000000 | 460444269.1667 | 629360368.8278 |  | 2018-12-06 | 500000000 | 90010795.4167 | 488855566.7358
2018-12-07 | 850000000 | 437489072.2222 | 522610854.5639 |  | 2018-12-07 | 500000000 | 114576133.5556 | 551254921.2475
2018-12-08 | 850000000 | 469389180.8333 | 449304261.7028 |  | 2018-12-08 | 500000000 | 113531368.0278 | 611302058.5358
2018-12-09 | 850000000 | 478520909.1667 | 483937765.8028 |  | 2018-12-09 | 500000000 | 53481790.2222 | 545796133.4842
2018-12-10 | 850000000 | 461655754.7222 | 457576852.2473 |  | 2018-12-10 | 500000000 | 110638119.8611 | 593931393.3928
2018-12-11 | 850000000 | 468132092.5 | 544620287.0889 |  | 2018-12-11 | 500000000 | 183192774.1389 | 548294836.2192
2018-12-12 | 850000000 | 467899876.6667 | 618294600.1139 |  | 2018-12-12 | 500000000 | 231840888.4444 | 566877468.3036
2018-12-13 | 850000000 | 455692510.5556 | 676967856.9917 |  | 2018-12-13 | 500000000 | 164013352.25 | 501916143.9953
2018-12-14 | 850000000 | 457320398.3333 | 698928431.1556 |  | 2018-12-14 | 500000000 | 132675847.7222 | 542071024.9575
2018-12-15 | 850000000 | 478658404.7222 | 629296574.1889 |  | 2018-12-15 | 500000000 | 150977908.5556 | 548944554.4258
2018-12-16 | 850000000 | 495170051.9444 | 609892314.85 |  | 2018-12-16 | 500000000 | 152397877.6944 | 621779985.6714
2018-12-17 | 850000000 | 463607691.9444 | 659644369.5666 |  | 2018-12-17 | 500000000 | 143944799.7778 | 551034784.965
2018-12-18 | 850000000 | 435538389.4444 | 697729377.0166 |  | 2018-12-18 | 500000000 | 132200010.8333 | 541904206.425
2018-12-19 | 850000000 | 469426152.5 | 619040404.2945 |  | 2018-12-19 | 500000000 | 98799271.0556 | 546167967.7214
2018-12-20 | 850000000 | 413049553.6111 | 601143840.3861 |  | 2018-12-20 | 500000000 | 98683106 | 589166755.2414
2018-12-21 | 850000000 | 460614677.2222 | 544673558.7889 |  | 2018-12-21 | 500000000 | 89323424.5278 | 516935421.6864
2018-12-22 | 850000000 | 429362345 | 552906247.6917 |  | 2018-12-22 | 500000000 | 104360723.4167 | 520498764.8111
2018-12-23 | 850000000 | 493346319.1667 | 621202251.6251 |  | 2018-12-23 | 500000000 | 98585088.9167 | 550466559.3367
2018-12-24 | 850000000 | 498703636.9444 | 677326512.8389 |  | 2018-12-24 | 500000000 | 122167723.5556 | 535182407.7536
2018-12-25 | 850000000 | 457411010.8333 | 762017596.5945 |  | 2018-12-25 | 500000000 | 102949546.6944 | 513497492.9281
2018-12-26 | 850000000 | 436321626.6667 | 768920209.4444 |  | 2018-12-26 | 500000000 | 81797292.75 | 570191533.3947
2018-12-27 | 850000000 | 432504028.8889 | 692141387.9 |  | 2018-12-27 | 500000000 | 107430755.9167 | 529226788.8781
2018-12-28 | 850000000 | 462309385 | 664265067.1639 |  | 2018-12-28 | 500000000 | 126250605.3333 | 551418735.8114
2018-12-29 | 850000000 | 465689755.5556 | 704783953.7527 |  | 2018-12-29 | 500000000 | 54616756.3056 | 585744112.7589
2018-12-30 | 850000000 | 438805828.6111 | 664226814.8972 |  | 2018-12-30 | 500000000 | 134451154.5556 | 540962420.0783
2018-12-31 | 850000000 | 376770839.1667 | 623683792.1472 |  | 2018-12-31 | 500000000 | 101907961.8889 | 563911884.0831

## VI Cap. cross-border stations
Appendix VI Capacity at cross-border stations (GW) |  |  |  |  | First page | [8 empty] | First page
GW
NAME VIP/IP | NWP | DIRECTION | 2020-10-01 | 2021-10-01 | 2022-10-01 | 2023-10-01 | 2024-10-01 | 2025-10-01 | 2026-10-01 | 2027-10-01 | 2028-10-01 | 2029-10-01 | 2030-10-01 | 2031-10-01 | 2032-10-01 | 2033-10-01 | 2034-10-01 | 2035-10-01 | 2036-10-01 | 2037-10-01 | 2038-10-01 | 2039-10-01 | 2040-10-01
VIP-TTF-NCG-L | 301544 | entry | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | exit | 36 | 31.5 | 26.7 | 21.9 | 17.2 | 12.4 | 11.6 | 7.6 | 2.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
underlying IPs:
Winterswijk (OGE) | 300133
Zevenaar (OGE) | 300132
Tegelen (OGE) | 300138
Haanrade (Thyssengas) | 300141
Dinxperlo (BEW) | 300140
VIP-TTF-NCG-H | 301545 | entry | 18.95 | 18.95 | 18.95 | 18.95 | 18.95 | 18.95 | 18.95 | 18.95 | 18.95 | 18.95 | 18.95 | 18.95 | 18.95 | 18.95 | 18.95 | 18.95 | 18.95 | 18.95 | 18.95 | 18.95 | 18.95
|  | exit | 26.04 | 26.04 | 26.04 | 26.04 | 26.04 | 26.04 | 26.04 | 26.04 | 26.04 | 26.04 | 26.04 | 26.04 | 26.04 | 26.04 | 26.04 | 26.04 | 26.04 | 26.04 | 26.04 | 26.04 | 26.04
underlying IPs:
Bocholtz TENP (OGE - Flx TENP) | 300139
Bocholtz Vetschau (Thyssengas) | 301368
Oude Statenzijl (OGE) | 300147
Oude Statenzijl (Gascade-H) |  | entry
Oude Statenzijl (GUD-H)[OBEBH] | 300146 | exit
Oude Statenzijl (GUD-H)[OBEBH] |  | entry
Oude Statenzijl (OGE) | 300145 | exit
Oude Statenzijl (OGE) |  | entry
Cluster Enschede/Epe storages | Cluster¹ | exit
Cluster Enschede/Epe storages |  | entry
Enschede (Eneco-UGS Epe) | 301397 | exit
Enschede (Eneco-UGS Epe) |  | entry
Enschede (Innogy-UGS Epe) | 301198 | exit
Enschede (Innogy-UGS Epe) |  | entry
Enschede (Nuon-UGS Epe) | 301309 | exit
Enschede (Nuon-UGS Epe) |  | entry
Haanrade (Thyssengas) | 300141 | exit
Haanrade (Thyssengas) |  | entry
Hilvarenbeek (Fluxys) | 300131 | exit
Hilvarenbeek (Fluxys) |  | entry
Cluster Oude Statenzijl storages (H) | Cluster¹ | exit
Cluster Oude Statenzijl storages (H) |  | entry
Oude Statenzijl (Astora Jemgum) | 301391 | exit
Oude Statenzijl (Astora Jemgum) |  | entry
Oude Statenzijl (Etzel-Crystal-H) | 301400 | exit
Oude Statenzijl (Etzel-Crystal-H) |  | entry
Oude Statenzijl (Etzel-EKB-H) | 301360 | exit
Oude Statenzijl (Etzel-EKB-H) |  | entry
Oude Statenzijl (Etzel-Freya-H) | 301401 | exit
Oude Statenzijl (Etzel-Freya-H) |  | entry
Oude Statenzijl (EWE Jemgum) | 301453 | exit
Oude Statenzijl (EWE Jemgum) |  | entry
Oude Statenzijl (EWE-H) | 301361 | exit
Oude Statenzijl (EWE-H) |  | entry
Oude Statenzijl Renato (OGE) | 301185 | exit
Oude Statenzijl Renato (OGE) |  | entry
Cluster Oude Statenzijl (L) | Cluster¹ | exit
Cluster Oude Statenzijl (L) |  | entry
Oude Statenzijl (GTG Nord-G) |  | exit
Oude Statenzijl (GTG Nord-G) |  | entry
Oude Statenzijl (OGE] | 300145 | exit
VIP-BENE | 301546 | entry | 13.8 | 13.8 | 13.8 | 13.8 | 13.8 | 13.8 | 13.8 | 13.8 | 13.8 | 13.8 | 13.8 | 13.8 | 13.8 | 13.8 | 13.8 | 13.8 | 13.8 | 13.8 | 13.8 | 13.8 | 13.8
|  | exit | 33.4 | 33.4 | 31.8 | 31.8 | 31.8 | 31.8 | 31.8 | 31.8 | 31.8 | 31.8 | 31.8 | 31.8 | 31.8 | 31.8 | 31.8 | 31.8 | 31.8 | 31.8 | 31.8 | 31.8 | 31.8
underlying IPs:
's Gravenvoeren (Fluxys) | 300143
Zandvliet (Fluxys-H) | 301184
Zelzate (Fluxys) | 301111
VIP-TTF-GASPOOL-L | 301547 | entry | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | exit | 7.25 | 7 | 7 | 7 | 7 | 7 | 3 | 2.2 | 2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
underlying IPs:
Oude Statenzijl (GTG Nord-G) | 300136
Oude Statenzijl (GUD-G)[OBEBG] | 300144
Oude Statenzijl (GTG NORD-H) | 301550
VIP-TTF-GASPOOL-H | 301548 | entry | 17.9 | 17.9 | 17.9 | 17.9 | 17.9 | 17.9 | 17.9 | 17.9 | 17.9 | 17.9 | 17.9 | 17.9 | 17.9 | 17.9 | 17.9 | 17.9 | 17.9 | 17.9 | 17.9 | 17.9 | 17.9
|  | exit | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2
underlying IPs:
Oude Statenzijl (GUD-H)[OBEBH] | 300146
Oude Statenzijl (Gascade-H) | 300147
HILVARENBEEK (FLUXYS) | 300131 | entry | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | exit | 24.8151 | 24.8151 | 24.8151 | 24.8151 | 21.0929 | 17.3706 | 13.6483 | 9.9261 | 6.2038 | 2.4815 | 1.4654 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
VLIEGHUIS (RWE) | 300142 | entry | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | exit | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
EMDEN EPT (GASSCO) | 301113 | entry | 40.15 | 40.15 | 40.15 | 40.15 | 40.15 | 40.15 | 40.15 | 40.15 | 40.15 | 40.15 | 40.15 | 40.15 | 40.15 | 40.15 | 40.15 | 40.15 | 40.15 | 40.15 | 40.15 | 40.15 | 40.15
|  | exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ROTTERDAM (GATE) | 301345 | entry | 17.4196 | 17.4196 | 17.4196 | 17.4196 | 17.4196 | 17.4196 | 17.4196 | 17.4196 | 17.4196 | 17.4196 | 17.4196 | 17.4196 | 17.4196 | 17.4196 | 17.4196 | 17.4196 | 17.4196 | 17.4196 | 17.4196 | 17.4196 | 17.4196
|  | exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0